Discussion and Interview Agenda: Internal Operational

Setting Objective of Interview: Determine rules for the following: detecting faults and subsequent alerts, equipment overrides, critical rooms, and BACnet control of equipment. Date, Time and Location: October 28, 2026, 11:00 am in the Facilities Office User Participants: Eng. Samy Wahdan, HVAC Maintenance Lead Project Team Participants: Bakr Eltabbal, Mostafa Amir, Ismail Gadallah

Interview/Discussion - Which equipment failures need to be alerted off immediately and which ones can wait? - How quickly do you need to be notified of a failure? - How should your team be notified of a fault? - Who maintains the sensors and BMS equipment? - Which rooms should be flagged as critical? - In what situations do you currently override a room’s settings? - Which staff should be authorized to override in the system? - Which temperature adjustments are considered “small”? “Snall” adjustments around a standard temperature were mentioned. - When saving energy conflicts with room comfort, which should take priority?

Follow-Up Important decisions or answers to questions which are to be recorded by the note-taker during the interview and summarized later. Open items not resolved go in an open-item list Date and time of next meeting or follow-up session

Discussion and Interview Agenda: Internal Executive

Setting Objective of Interview: Determine how success is measured, which reports and scenarios are needed, and what the pilot covers. Date, Time and Location: October 29, 2026, 11:00 am in the Facilities Office User Participants: Eng. Rasha Elhelaly, Director of Facilities (sponsor) Project Team Participants: Bakr Eltabbal, Mostafa Amir, Ismail Gadallah

Interview/Discussion - How should the 20% reduction be measured? What’s the baseline? - Which two buildings are the ones being covered in the pilot? - Which help desk tickets should count as complaints for the pilot? - Which scenarios do you want to test other than moving lectures into one building? - Who should see which reports and dashboards? - Should the system provide consumption data to the utility? - What should be the minimum size of a group to book a lecture hall? - When saving energy conflicts with room comfort, which should take priority?

Follow-Up Important decisions or answers to questions which are to be recorded by the note-taker during the interview and summarized later. Open items not resolved go in an open-item list Date and time of next meeting or follow-up session