Problem Description:

There is a major issue with the campus’s energy and space management. The campus has 14 buildings, and its monthly electricity bill is around 3 million EGP. The university is wasting resources by failing to monitor energy waste and unused rooms. This has caused a deficiency in the university’s ability to see how the energy and the rooms on campus are being used. The information required to oversee these issues is unorganized; the sensors, timetables, and bookings aren’t being compared to each other. Therefore, the staff has no information on whether an empty room is using power or whether a booked room is empty because students or staff didn’t end up going and forgot to cancel their booking. The university ends up paying the price for all these deficiencies: higher energy costs, wasted rooms, and faulty equipment that go unnoticed.

System Capabilities:

The new system should be capable of the following:

- Collecting live data from energy meters and sensors (electricity, temperature, CO2 levels, and occupancy count across the campus)

- Updating Schedules and room bookings and linking them to the actual rooms (ensuring the booking app works in Arabic as well)

- Displaying a 3D model of buildings, floors, and rooms with live energy and occupancy status updated in real time

- Keeping track of energy consumption over time for trend analysis

- Detecting faulty equipment resulting in an automatic ticket and notifying the responsible team

- Comparing bookings with actual occupancy and if a room is empty for longer than 20 minutes after the lecture starts, it's considered a no show

- Generating Dashboards and reports for responsible staff and the president’s office

- Controlling access by user role and storing data securely

Business Benefits:

We anticipate the deployment of the system will benefit the university in:

- Lower energy costs and emissions by reducing waste in poorly used spaces

- Better allocation of existing space, reducing the need for extra rooms and minimizing no shows

- Faster fault detection so maintenance are aware before students

- Reduced manual reporting

- Improved experience for students and staff